Note：Before data communications, make sure the drivers and application software are successfully installed.

1 Install driver

Running the CD-ROM on the computer to find the “driver”installation file，image 1-1。

Image 1-1

Double-click the icon,image 1-2 appears

Image 1-2

Click“INSTALL”，After a moment,image1-3 appears.

Image 1-3

Click “OK” and exit the installation interface. Driver installation has not been completed at this time, please continue the operation below.

Connect the instrument and the computer by USB data cord. Then open the instrument to appear image 1-4.

Image 1-4

Click Next to appear image 1-5。

Image 1-5

After a moment,image 1-6 appears.

Image 1-6

Click Finish, driver installation is completed.

Please check that if the driver is installed to avoid the communication problem between the instrument and the computer Open device manager (right-click My Computer to select properties. Then select the hardware tab on the system properties interface. And then to click the device manager button), in the port (COM and LPT) column, you can see the selected box in the image 1-7 which indicates the successful installation; If no selected box below the port(COM and LPT), as in the image1-8, it means  installation failure and reinstalling is needed.

Image 1-7

Image 1-8

After the successful driver installation, you can turn off the instrument and disconnect the USB.

2 Instruction for the Software Use

(1)Open the PC software to show the image2-1.

Image 2-1

The instrument is connected to the computer by a USB cable and in the state of being switched on.

In the port(COM and LPT) column, you can see the port used by the instrument is “COM4”(image 2-2)

Image 2-2

So when to select the software port, you can click the drop-down menu to choose “COM4”.(image 2-3)

Image 2-3

After port selection, click the “Open Com button”, and then click “Connect” button.(image2-4)

When the successful connection box appears, click OK to finish connection. And now you can start the communication between the instrument and computer。(image2-5)

Image2-4

Image 2-5

(2) The data processing function use

First, fill in the basic information, including the testing person, instrument type and so on.。(Image2-6)

Image 2-6

Then click “Upload Data “button, the data saved in the instrument can be uploaded to the computer and are displayed in the data area.(image 5-30)

Image 2-7

You can process the data in the data display area, including delete, save and print.

Choose the data needing process; click the “Delete Select” button to delete the selected data, as in the image 2-8 and 2-9，and also the corresponding data stored in the meter are also deleted.

Image2-8

Image 2-9

Click the “Delete all” button to appear the “Delete all” box in the image 2-10，click OK to delete all the data and also empty the stored data in the meter. If you click Cancel, the situation is just the opposite.

Image2-10

Click the “Save or Print” button to appear the sheet in the image 2-11. The sheet can be edited, saved, printed and etc.

Click  button to appear save box in the image 2-12. You can operate the file name, save path, etc.

Image 2-11

Image 2-12

(3) Power reading and calibration

Click the “Power Read” button, the current absolute optical power value, tested in the instrument power meter module, will appear in the empty box;

Click the “Wave Selection” drop-down box to select the current test wavelength in the instrument power meter module;

When the absolute optical power value in the instrument power meter module needs calibration, first to choose the needed wavelength in the “Wave Selection”, and then to fill in the absolute optical power value in the blank edit box. Next to click the “Power ADJ” button is ok. (image 2-13)

Image 2-13

(4)Time setting

When you need to set the time on the meter, you can click the “Get Time” button. Then the system will appear the current time automatically (image 2-14)；Now you click the “Time Set” button to appear the dialogue box and then click OK. (Image 2-15)

Image 2-14

Image 2-15

(5)Close Software

Click the “Exit”button is OK.